## Directory
Protocol | Calculations and step-by-step instructions
Incucyte_Software_Images | Annotated screenshots from the Incucyte2023A software
results | Exported data from .csv
conf_v_time | Transformed data to plot growth curves (% conf v time, or FC (% conc) v time)
conf_v_dose | Transformed data to plot dose-response curves (% conf v dose)

## Protocol
Matt, Maya
<- user change
<- vol to add
2025-04-24 | Plate cells
| Plan | C2C12 | HSMM | [5 empty] | TC |  | c/mL | vol (mL) | total cells
| cells per well | 700 | 1100 | <- want ~15% confluence at t=0 |  |  |  |  | C2C12 |  | 874000 | 1 | 874000
| μL per well | 25 | 25 | [7 empty] | 879000 | 1 | 879000
| cells per μL | 28 | 44 | [8 empty] | average | 876500
| cells per mL | 28000 | 44000 | [5 empty] | HSMM |  | 1890000 | 1 | 1890000
| wells/cell type | 384 | 384 | [7 empty] | 1820000 | 1 | 1820000
| total cells/cell type | 268800 | 422400 | [8 empty] | average | 1855000
| total volume (mL) | 9.6 | 9.6
First Dilution
| total cells | 876500 | 1855000
| resuspend conc (c/mL) | 40000 | 400000 | <- should be greater than 268800
| add media (mL) | 21.9125 | 4.6375 | <- vol to add to original resuspension of 1mL (highly concentrated)
| total vol (mL) | 22.9125 | 5.6375
Resuspension (second) dilution
| target con (c/mL) |  | 40000
| add stock dilution (mL) |  | 1.5 | <- vol from stock (first) dilution
| add media (mL) |  | 13.5 | <- vol to add to stock (first dilution)
| total vol (mL) |  | 15 | <- should be greater than 9.60
Note: bring tips to the bottom of the wells, ensure tips are flushed, bring up slightly, release, move to the next well
Note: bubbles can form if not careful with the plating, check under microscope for bubles
Note: Corning #3764, 384-well, black, clear bottom
2025-04-25 | 2. Dose Drugs
Create all dilutions in 12-well reservoirs before pipetting into 384-well plate, label the top of each reservoir
Note: reservoirs are located under the microscope
|  |  | IHK44 |  |  | A485 |  |  | dCBP1 |  |  | JQAD1 |  |  | CBPD-409 |  |  | GNE-049 |  |  | CCS1477
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Log(conc nM)
|  | A | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 |  |  |  | 4.1761
|  | B | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 |  |  |  | 3.699
|  | C | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 | 1666.6667 |  |  |  | 3.2218
|  | D | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 | 555.5556 |  |  |  | 2.7447
|  | E | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 | 185.1852 |  |  |  | 2.2676
|  | F | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 | 61.7284 |  |  |  | 1.7905
|  | G | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 | 20.5761 |  |  |  | 1.3134
|  | H | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 | 6.8587 |  |  |  | 0.83624
|  | I | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 | 2.2862 |  |  |  | 0.35912
|  | J | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 | 0.76208 |  |  |  | -0.118
|  | K | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 | 0.25403 |  |  |  | -0.59512
|  | L | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 | 0.084675 |  |  |  | -1.0722
|  | M | IHK44 1: DMSO (10 mM); CBPD-409 13: DMEM
N
O
P
|  | DMSO | IHK44 1: 10 mM stock; A485 5: Concentration; dCBP1 7: Reservoir
| volume per well (uL) | 25 | IHK44 1: 25; IHK44 2: <- vol to add in each well; A485 5: uM; dCBP1 7: µL; dCBP1 9: dilutions
| cell lines | 1 | IHK44 1: 1; A485 5: 15; A485 6: starting µL; dCBP1 7: 135
| replicates | 3 | IHK44 1: 3; dCBP1 9: 45; JQAD1 10: µL serial dilutions
| combos | 1 | IHK44 1: 1; A485 5: 5; dCBP1 7: 90; JQAD1 10: divide by; JQAD1 11: 3
| vol per drug conc | 75 | IHK44 1: 75; A485 5: 1.6667; dCBP1 7: 90
| total vol/well | 50 | IHK44 1: 50; A485 5: 0.55556; dCBP1 7: 90
| µM final: |  | IHK44 1: 15; A485 5: 0.18519; dCBP1 7: 90
| µM working: |  | IHK44 1: 30; A485 5: 0.061728; dCBP1 7: 90
| make µL | 135 | IHK44 1: 135; A485 5: 0.020576; dCBP1 7: 90
| stock conc µM |  | IHK44 1: 10000; A485 5: 0.0068587; dCBP1 7: 90
| add µL stock | 0.405 | IHK44 1: 0.405; A485 5: 0.0022862; dCBP1 7: 90
| plus µL DMEM | 134.595 | IHK44 1: 134.595; A485 5: 0.00076208; dCBP1 7: 90
| %DMSO | 0.15% | IHK44 1: 0.15%; IHK44 2: <- need DMSO conc <=0.3%; A485 5: 0.00025403; dCBP1 7: 90
2025-04-25 | 3. Plate setup
Take plate to Wolstein (2nd floor). Remember to carry in secondary container
Note: there are two machines (shared and ShoagLab).
Note: Shared machine requires sign up (in-person) and max of 2x plates per lab (more upon request). Contact is Karen McColl <ksm8@case.edu>
Note: ShoagLab machine requires request before use. Contact is Anyull Dayanna Bohorquez Caballero <AnyullDayanna.BohorquezCaballero@UHhospitals.org> and/or Bryan Daly <bpd42@case.edu>
Open software
Note: Shared machine software is connected to the network (can access from GryderLab), ShoagLab is only accessible in Wolstein.
Note: For shared machine Incucyte software: username (mxk1343), password (Case1234). IP address for Watson (bottom): <>, Crick (top): <>
Note: For ShoagLab: ensure you are connected to CaseWireless before logging into the desktop. Username and password for the desktop is your CaseID. Incucyte software: username (shoaglab), password (ShoagLab123!), IP address:
Add plate to the scan schedule
After the first few images are taken (>24hrs), add the analysis capture definition
4. Analysis
Once your control (DMSO, DMEM) has reached 100% confluence, stop the scan schedule and remove your plate
Export your data (.csv)
Paste exported data (from .csv) into results, the subsequent subsheets (conf_v_time, conf_v_dose) should automatically update based on the results subsheet
Open GraphPad Prism
Growth curves follow an exponential shape. It is a good idea to plot the confluence of each drug concentration v time to check if higher doses slow the growth more than lower doses.
Dose-response curves follow a sigmoidal shape. Curves are defined by four parameters: Top, Bottom, Hill slope, and IC50. Top and Bottom describe the values at which the curve reach a plateau. The Hill slope describes the slope of the sigmoidal curve between these two plateaus. The IC50 refers to a concentration required to reduce (or increase) the measured response to half - or 50% - of its maximal value. Lower IC50 values mean that the drug is more potent, and vice versa.
Steps to setup the analysis for your Incucyte data:
On your Data Table, click Analyze.
A pop-up window should appear. Under XY analyses, click Nonlinear regression (curve fit). Ensure that all datasets are selected. Click Ok.
Another pop-up window should appear. Under Model, click Standard curves to interpolate, click Sigmoidal, 4PL, X is log(concentration). Under Constrain, change the Constraint Type for Bottom to be Constant equal to 15. Click Ok.
Under Results tab, check the Nonlin fit of <Data Table>. You will see that your Best-fit parameter for Bottom is “= 15.00”. Note the IC50 value at 96 hours.
Steps to clean up the graph for you Incucyte data:
Double-click the vertical axis. Click Frame and Origin, Set origin: Lower left. Click X axis, change Range if needed, change Minor ticks if needed. Click Y axis, Change Range if needed, change Minor ticks if needed. Click Ok.
Change your title to the cell line and drug treatment, add the IC50 value (not the LogIC50 value), change your y-axis title to % Confluence, change your x-axis to log(nM), change your color gradient (light colors for early time-point, dark colors for long time-point).
To apply the changes to the appearance of your graph to other graphs, click the Magic Wand icon. Select the graph that you want to copy the format of, click Next >>. Select all checkboxes that you want, click Ok.
To export your graph, press Export, change the file format to PDF, change background color to Clear, chang file name and file path accordingly.