## Directory
Protocol | Calculations and step-by-step instructions
BCA | Protein/histone conc
Quantification | Results from Image Lab
ImageLab_Software | Images from ImageLab software used to quantify Western blots

## Protocol
Matt/Jordyn
| Cells: | RH4 | RH41 | RH5 | RD | SMS-CTR | C2C12 | HSMM
| Conditions: | no drug tx
| Total samples: | 7
| Antibody: | Target | Size (kDa) | Dilution | Secondary | Supplier | Catalog #
|  | H2B | 17 | 1:2000 | rabbit | Active motif
|  | H2BK16ac | 17 | 1:2000 | rabbit | abcam
|  | H2BK20ac | 17 | 1:2000 | rabbit | abcam
|  | H3 | 17 | 1:2000 | rabbit | Abcam
|  | H3K27ac | 17 | 1:2000 | rabbit | Active motif
2025-02-02 | 1. Plate cells (1 h)
Plate 5M cells per 10cm dish (or 10M cells per 15cm dish)
2025-02-03 | 2. Histone extraction (2 h) | [9 empty] | 2. Protein extraction (3 h)
|  | Collect in a 50 mL tube by trypsinization | [8 empty] | Collect in a 15 mL tube by trypsinization
|  | Centrifuge at 1000rpm for 5 min at 4C. Remove supernatant | [8 empty] | Centrifuge at 300xg for 5 min at 4C. Remove supernatant
Resuspend in 1 mL of PBS
|  | Follow histone extraction kit protocol | [8 empty] | Transfer to a 1.5 mL Eppendorf tube
|  |  | Note: Abcam, #ab113476 | [7 empty] | Centrifuge at 300xg for 5 min at 4C. Remove supernatant
Resuspend in 1 mL of 1x pre-lysis buffer. Transfer to 1.5 mL tube. Incubate on ice with gentle stirring for 10 min
|  |  | Note: Rotate on shaker in cold room. A precipitate should crash out | [7 empty] | Resuspend pellet in 200 uL of RIPA (whole-cell extract) lysis buffer and 2 uL of 100X HALT protease and phosphotase inhibitor cocktail
Note: pellet breaks up easily
|  |  | 1x Pre-lysis buffer | [8 empty] | Note: RIPA buffer stored at 4C
|  |  | 10x pre-lysis buffer (uL) | dH2O (uL) | total vol (uL)
|  |  | 800 | 7200 | 8000 | [6 empty] | RIPA lysis buffer
[12 empty] | Reagent | Stock conc | Final Conc | Fold dilution | Final vol (to 10 mL)
|  | Centrifuge at 3000rpm for 5 min at 4C. Remove supernatant | [9 empty] | Tris-HCl pH 7.4 | 1 M | 50 mM | 20 | 0
|  | Resuspend in 200 uL of lysis buffer. Add 1x HALT protease inhibitors (2uL). Incubate on ice for 30 min | [9 empty] | NaCl | 5 M | 150 mM | 33.3333 | 0
|  |  | Note: A precipitate should crash out | [8 empty] | NP-40 | 0.1 | 0.01 | 10 | 0
[12 empty] | NaDoc | 0.1 | 0.005 | 20 | 0
|  |  | Lysis buffer | [8 empty] | SDS | 0.1 | 0.001 | 100 | 0
|  |  | lysis buffer (uL) | 100x protease inhibitor (uL) | total vol (uL) | [6 empty] | EGTA | 0.5 M | 1 mM | 500 | 0
|  |  | 1584 | 16 | 1600 | [6 empty] | EDTA | 0.5 M | 1 mM | 500 | 0
[12 empty] | NaF |  | 50 mM |  | X
|  | Centrifuge at 12000rpm for 5 min at 4C. Transfer supernatant (your histones) to a new 1.5 mL tube | [9 empty] | Na3VO4 |  | 1 mM |  | X
|  | Add 60uL of balance-DTT buffer. Add 1x HALT protease inhibitors (0.6 uL). Mix well (final vol ~260 uL) | [9 empty] | Sodium beta-glycerolphosphate |  | 10 mM |  | X
|  |  | Note: Balance buffer is slushy/icy at 4C. Spin down DTT buffer before pipetting | [8 empty] | Sodium pyrophosphate |  | 5 mM |  | X
|  |  | Note: Keep samples on ice | [8 empty] | H2O |  |  |  | 10000
10000
Balance-DTT buffer
|  |  | DTT (uL) | balance buffer (uL) | 100x protease inhibitor (uL) | total vol (uL) |  |  |  |  | Incubate on shaker at 1,250rpm at 4C for 75 min
|  |  | 1.6 | 800 | 8 | 800 | [5 empty] | Note: white lysate (DNA) will form. Sticky
Pellet at 16,000xg at 4C for 10 min. Transfer supernatant (your protein) to a new 1.5 mL tube
|  | Quantify protein using BCA assay (see BCA subsheet) | [8 empty] | Quantify protein using BCA assay (see BCA subsheet)
|  |  | Note: can store at -20C, avoid freeze-thaw cycles | [8 empty] | Note: can store at -20C, avoid freeze-thaw cycles
BCA assay protocol:
Dilute samples 1:10 (5uL sample + 45uL dH2O) in 1.5mL tubes
Dilute BioRad dye (1:5) in 15mL tube
Note: 5x BioRad dye in large 4C
BioRad dye
|  |  | # samples | # replicates | Total vol (uL) | Vol 1x BioRad (uL) | Vol dH2O (uL)
|  |  | 7 | 2 | 6300 | 1260 | 5040
In a 96-well plate, pipette 10uL of diluted sample
Add 300uL of 1x dye, mix well
Take downstairs to 6th floor (room_num) by the dry ice
2025-02-04 | 3. SDS-PAGE (1.5 - 2 h)
Aliquot samples (see BCA subsheet)
Add 6 uL LDS buffer to each sample
Note: it is more stable to store samples in LDS buffer at -20C rather than by itself and adding LDS buffer the next day
Note: extra DTT is stored in -20C Hulk
LD buffer
|  |  | NuPAGE LDS Sample Buffer (4x) | 1M DTT | Total vol (uL)
|  |  | 320 | 180 | 500
Heat samples on rotation at 1,250rpm at 70C for 10 min
Note: 5 min instead of 10 min
Assemble casette
Note: line the rubber on the casette holder with some running buffer so the gel slides in easily
Note: gently pour distilled water (can use the nanodrop one) over wells (no air bubbles in the wells) when taking out the comb with your thumbs
Pour running buffer into cassette
Note: overfill inside, fill outside to half
Note: two choices of running buffer for 4-12% Bis-Tris gel (MES = better for smaller proteins, MOPS = better for larger proteins)
Note: for 3-8% Tris-Acetate gel, need to use a different running buffer suitable to the gel integrity
Note: for super clean bands, run the gel for 5 min at 100 V with nothing loaded (dirt and stuff will fall off the gel), and then begin your protocol
Running buffer
|  |  | MES Running Buffer (20x) | H2O | Total vol (mL)
|  |  | 50 | 950 | 1000
Load 20 uL of sample to each well, 5 uL of ladder, and 5 uL sample buffer to empty wells
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  |  | ladder | RH4 | RH41 | RH5 | RD | SMS-CTR | HSMM | C2C12 | ladder | -
Run gel at 80 V for 15 min, then 200 V for 90 min for histones (for proteins, run 80V for 15 min, then 100 V for 60 min)
Note: check for bubbles
4. Transfer (2 h)
Soak 5 sponges and 4 filter papers in transfer buffer
Transfer buffer
|  |  | Transfer buffer (20x) | Methanol | H2O | Total Vol (mL)
|  |  | 50 | 100 | 850 | 1000
Cut out membrane using the filter paper as a template
Move 2 filter paper to basin
Crack open gel. Cut off the wells and the thicker part
Note: chop, don't slice
Place gel on filter paper (remember orientation facing up)
Using forceps, place membrane on top of the gel
Note: very little difference b/w nitrocellulose and PVDF membrane. PVDF membrane requires activating the membrane w/MeOH before usage
Note: handle the membrane from the corners
Note: pour extra cold transfer buffer to keep things wet
Add the last two filter paper on top
Roll out remaining air bubbles in one direction both (only up or only down and only right or only left)
Place 3 sponges in the casette, followed by the sandwich, followed by the last 2 sponges
Note: the sponges + sandwich should be slightly taller than the casette
Note: order of sandwich <bottom> 3 sponges, 2 filter papers, gel, membrane, 2 filter papers, 2 sponges <top>
Pour transfer buffer to casette
Note: overfill inside, fill outside to half
Run at 200 mA (0.200 A) for 90-120 min. Don't fix voltage, fix current instead
Note: check for bubbles
Note: for large proteins, can also run transfer O/N in cold room
5. Blocking (30 min)
Transfer membrane to 1x TBST. Rotate at RT for 5 min
1x TBST
|  |  | 20x TBST | dH2O | Total Vol (mL)
|  |  | 50 | 950 | 1000
Transfer membrane to 5% milk buffer. Rotate at RT for 20 min
Note: milk can settle, always invert a few times before use
Milk buffer
|  |  | Dry milk (g) | 1x TBST | Total Vol (mL) |  | Milk conc.
|  |  | 25 | 500 | 500 |  | 5%
Transfer membrane to 1x TBST. Rotate at RT for 5 min
Cut membrane appropriately
Note: cut membrane on top of parafilm
Place membrane in primary antibody (new container) in 2.5% milk. Rotate overnight in 4C
Note: always label plastic trays before putting on the rotator
Milk buffer
|  |  | Dry milk (g) | 1x TBST | Total Vol (mL) |  | Milk conc.
|  |  | 12.5 | 500 | 500 |  | 2.5%
6. Wash, secondary antibody, wash (2 h)
Wash 3x with 1x TBST. Rotate at RT for 10 min each
Incubate in HRP-conjugated secondary (1:5000 dilution in 2.5% milk) for 1 hour at RT on rotation
Wash 3x with 1x TBST. Rotate at RT for 10 min each
7. Imaging (30 min)
Prepare ECL substrate
Note: Pierce ECL substrate box located in large 4C bottom shelf
Note: Pierce ECL substrate can be thrown down the sink
Note: for hard-to-detect proteins, can use the fempto substrate (it is highly concentrated)
ECL substrate
|  |  | Peroxide | Luminol | Total vol (mL)
|  |  | 1 | 1 | 2
Go downstairs to the Bio-Rad ChemiDoc Imager between the Salz and Buchner labs
Note: we use the Scacheri lab's account
Change settings to Chemiluminesence
Note: change Application Category to Chemiluminescence
Note: change Exposure settings to Rapid Auto-exposure and set it to the second-highest resolution
Note: under the Exposure settings, click Manual, click Configure Signal Accumulation Mode, and change the number of Images to 10
Place plastic film on top of imaging board and secure it in the mouth of the machine
Note: plastic film located on top of the ChemiDoc machine
Indirectly dab the membrane of excess TBS by the corners with a paper towel
Transfer blot into ECL substrate and gently shake for 2 min
Transfer blot to plastic film
Press run
Note: if cannot capture any images, the memory is probably full, so navigate to the library and delete old files
Change settings to Colorimetric (Rapid)
Press run
Transfer blot back to TBS. Repeat for other blots if have
Merge the best Colorimetric and Chemiluminescence images into the Composite image
When finished, take out the tray, spray the plastic film and imaging board with dH2O and wipe down with Kimwipes
9. OPTIONAL: stripping and reblotting (1 h)
Wash 1x with TBST
Incubate in stripping buffer for 20 min at RT on rotation
Wash 1x with TBST
Incubate in milk buffer for 20 min at RT on rotation
Add next primary antibody overnight at 4C on rotation
Note: you want to always blot for the protein that is the most lowly expressed first
10. Analysis

## BCA
| Standards |  |  |  | Scatter Plot
| conc (mg/mL) | A560 | Average |  | Conc | Mean Abs
| 1 | 1.431 | 1.397 |  | 1 | 1.397
|  | 1.363 |  |  | 0.7 | 1.222
| 0.7 | 1.194 | 1.222 |  | 0.5 | 0.997
|  | 1.25 |  |  | 0.3 | 0.828
| 0.5 | 0.995 | 0.997 |  | 0.2 | 0.7425
|  | 0.999 |  |  | 0.1 | 0.603
| 0.3 | 0.828 | 0.828 |  | 0.05 | 0.5505
|  | 0.828 |  |  | 0 | 0.5005
| 0.2 | 0.727 | 0.7425
0.758
| 0.1 | 0.606 | 0.603
0.6
| 0.05 | 0.545 | 0.5505
0.556
| 0 | 0.499 | 0.5005
0.502
| Slope | 0.92102
| Intercept | 0.52695
| Dilution Factor | 10
| ug protein | 5
| gel load vol | 20
| Absorbance |  |  | Concentration |  | Sample (02.21.2025) |  | Sample (02.23.2025)
Sample Name | Rep 1 | Rep 2 | Average | Dil Conc (ug/uL) | Real Conc (ug/uL) | uL protein | uL water | Scale Factor | uL protein | uL dH2O
RH4 | 0.755 | 0.77 | 0.7625 | 0.25575 | 2.5575 | 1.955 | 18.045 | 1.3 | 2.5415 | 17.4585
RH41 | 0.683 | 0.691 | 0.687 | 0.17378 | 1.7378 | 2.8773 | 17.1227 | 1 | 2.8773 | 17.1227
RH5 | 0.66 | 0.688 | 0.674 | 0.15966 | 1.5966 | 3.1316 | 16.8684 | 0.67 | 2.0982 | 17.9018
RD | 0.709 | 0.747 | 0.728 | 0.21829 | 2.1829 | 2.2905 | 17.7095 | 0.97 | 2.2218 | 17.7782
SMS-CTR | 0.669 | 0.705 | 0.687 | 0.17378 | 1.7378 | 2.8773 | 17.1227 | 1.45 | 4.172 | 15.828
HSMM | 0.649 | 0.681 | 0.665 | 0.14989 | 1.4989 | 3.3358 | 16.6642 | 0.77 | 2.5686 | 17.4314
C2C12 | 0.793 | 0.765 | 0.779 | 0.27366 | 2.7366 | 1.8271 | 18.1729 | 1.5 | 2.7406 | 17.2594